## Soil Samples Log
SBMM OU1 — Native-vs-Waste Surface Soil Samples — LOG
25 surface soil samples collected by A. Mayer + D. Jankly. XRF'd by M. Sharif + A. Lineberger on 5/4/2026 in Soils Mode (Niton XL5 Plus, X501203). 2 shots per sample.
Identification |  |  | XRF Reading #s |  | Shot Averages (ppm) |  |  |  | Documentation
Sample ID | Group | Date XRF'd | Shot 1 Rdg # | Shot 2 Rdg # | Avg Hg (ppm) | Avg As (ppm) | Avg Pb (ppm) | Avg Sb (ppm) | XRF S/N | Mode | Status | Notes
XRF-SWRC-1 | SWRC | 2026-05-04 | 1486 | 1487 | 109.28 | 3.16 | 24.55 | 0 | X501203 | Soils | Complete
XRF-SWRC-2 | SWRC | 2026-05-04 | 1489 | 1490 | 81.58 | 0.97 | 17.51 | 0 | X501203 | Soils | Complete
XRF-SWRC-3 | SWRC | 2026-05-04 | 1491 | 1492 | 59.19 | 18.91 | 7.41 | 36.42 | X501203 | Soils | Complete
XRF-SWRC-4 | SWRC | 2026-05-04 | 1493 | 1496 | 46.4 | 0 | 8.48 | 0 | X501203 | Soils | Complete
XRF-SWRC-5 | SWRC | 2026-05-04 | 1494 | 1497 | 79.49 | 41.47 | 21.9 | 112.83 | X501203 | Soils | Complete
XRF-SWRC-6 | SWRC | 2026-05-04 | 1498 | 1499 | 827.72 | 0 | 17.14 | 2.33 | X501203 | Soils | Complete
XRF-SWRC-7 | SWRC | 2026-05-04 | 1500 | 1501 | 110.09 | 15.83 | 7.23 | 3.24 | X501203 | Soils | Complete
XRF-SWRC-8 | SWRC | 2026-05-04 | 1502 | 1503 | 53.84 | 2.29 | 6.74 | 0 | X501203 | Soils | Complete
XRF-OMB-1 | OMB | 2026-05-04 | 1504 | 1505 | 15.01 | 1.1 | 22.8 | 0 | X501203 | Soils | Complete
XRF-OMB-2 | OMB | 2026-05-04 | 1506 | 1507 | 40.86 | 7.08 | 18.15 | 0 | X501203 | Soils | Complete
XRF-OMB-3 | OMB | 2026-05-04 | 1508 | 1509 | 10.14 | 5.26 | 8.93 | 0 | X501203 | Soils | Complete
XRF-OMB-4 | OMB | 2026-05-04 | 1510 | 1511 | 7.03 | 3.6 | 9.18 | 0 | X501203 | Soils | Complete
XRF-OMB-5 | OMB | 2026-05-04 | 1512 | 1513 | 113.8 | 5.71 | 14.15 | 0 | X501203 | Soils | Complete
XRF-OMB-6 | OMB | 2026-05-04 | 1514 | 1515 | 105.02 | 2.64 | 11.57 | 0 | X501203 | Soils | Complete
XRF-OMB-7 | OMB | 2026-05-04 | 1516 | 1518 | 36.54 | 3.96 | 10.68 | 0 | X501203 | Soils | Complete
XRF-OMB-8 | OMB | 2026-05-04 | 1519 | 1520 | 200.37 | 10.34 | 20.06 | 20.56 | X501203 | Soils | Complete
XRF-OMB-9 | OMB | 2026-05-04 | 1521 | 1523 | 3781.28 | 8.13 | 53.84 | 46.49 | X501203 | Soils | Complete
XRF-OMB-10 | OMB | 2026-05-04 | 1524 | 1525 | 947.04 | 20.06 | 18.9 | 58.54 | X501203 | Soils | Complete
XRF-OMB-11 | OMB | 2026-05-04 | 1526 | 1527 | 134.09 | 9.14 | 7.5 | 45.56 | X501203 | Soils | Complete
XRF-OMB-12 | OMB | 2026-05-04 | 1528 | 1529 | 6.29 | 0 | 4.18 | 0 | X501203 | Soils | Complete
XRF-OMB-13 | OMB | 2026-05-04 | 1530 | 1532 | 29.63 | 70.79 | 13.14 | 117.74 | X501203 | Soils | Complete
XRF-OMB-14 | OMB | 2026-05-04 | 1534 | 1535 | 6.54 | 0 | 3.39 | 7.69 | X501203 | Soils | Complete
XRF-OMB-15 | OMB | 2026-05-04 | 1536 | 1537 | 110.99 | 54.37 | 8.75 | 168.71 | X501203 | Soils | Complete
XRF-OMB-16 | OMB | 2026-05-04 | 1538 | 1539 | 179.78 | 51.92 | 4.02 | 49.62 | X501203 | Soils | Complete
XRF-OMB-17 | OMB | 2026-05-04 | 1542 | 1543 | 214.98 | 40.05 | 5.92 | 68.68 | X501203 | Soils | Complete

## Soil Samples Detail
SBMM OU1 — Andrew's Native-vs-Waste Surface Soil Samples — XRF READING DETAIL
Per-reading log of all 50 soil sample shots (8 SWRC × 2 + 17 OMB × 2). All in Soils mode, Niton XL5 Plus, S/N X501203. AM/PM IARM 35NN verifications captured separately on field form.
Identification |  |  |  |  | Element Results (ppm) | [6 empty] | Instrument
Sample ID | Group | Date | XRF Rdg # | Shot # | Hg (ppm) | As (ppm) | Pb (ppm) | Sb (ppm) | Fe (ppm) | Mn (ppm) | S (ppm) | Mode | Duration (sec) | Notes
XRF-SWRC-1 | SWRC | 2026-05-04 | 1486 | 1 | 107.9034 | 3.2506 | 24.1348 | <LOD | 24930.7227 | <LOD | 649.0251 | Soils | 122.47
| SWRC | 2026-05-04 | 1487 | 2 | 110.6468 | 3.0622 | 24.9651 | <LOD | 25066.5879 | <LOD | 610.0753 | Soils | 122.36
XRF-SWRC-2 | SWRC | 2026-05-04 | 1489 | 1 | 82.224 | <LOD | 16.0754 | <LOD | 33285.3984 | 107.8169 | 632.395 | Soils | 92.16
| SWRC | 2026-05-04 | 1490 | 2 | 80.9428 | 1.9334 | 18.944 | <LOD | 33463.1992 | 106.4092 | 774.8267 | Soils | 90.55
XRF-SWRC-3 | SWRC | 2026-05-04 | 1491 | 1 | 56.7825 | 17.8395 | 7.2579 | 36.0325 | 51252.2383 | 82.7186 | 8656.9414 | Soils | 90.27
| SWRC | 2026-05-04 | 1492 | 2 | 61.6066 | 19.9895 | 7.5606 | 36.8022 | 51690.2891 | 82.1292 | 9753.8604 | Soils | 92.16
XRF-SWRC-4 | SWRC | 2026-05-04 | 1493 | 1 | 44.7392 | <LOD | 6.8242 | <LOD | 17084.4941 | 128.6106 | 453.8564 | Soils | 92.21
| SWRC | 2026-05-04 | 1496 | 2 | 48.0544 | <LOD | 10.1411 | <LOD | 20988.7168 | 194.052 | 662.3553 | Soils | 90.2
XRF-SWRC-5 | SWRC | 2026-05-04 | 1494 | 1 | 79.315 | 37.3949 | 22.7091 | 120.2149 | 27508.0391 | <LOD | 5589.0459 | Soils | 91.9
| SWRC | 2026-05-04 | 1497 | 2 | 79.6553 | 45.5514 | 21.0882 | 105.4454 | 33244.457 | 43.3415 | 8776.1973 | Soils | 90.2
XRF-SWRC-6 | SWRC | 2026-05-04 | 1498 | 1 | 826.1254 | <LOD | 17.9978 | 4.6674 | 1698.8202 | <LOD | 2594.6584 | Soils | 90.35
| SWRC | 2026-05-04 | 1499 | 2 | 829.3148 | <LOD | 16.2904 | <LOD | 1762.698 | <LOD | 3206.7004 | Soils | 91.98
XRF-SWRC-7 | SWRC | 2026-05-04 | 1500 | 1 | 109.3583 | 15.3869 | 7.0878 | <LOD | 48276.1562 | 299.794 | 14872.9385 | Soils | 91.86
| SWRC | 2026-05-04 | 1501 | 2 | 110.8121 | 16.2796 | 7.3696 | 6.4745 | 49043.1367 | 300.668 | 16929.1816 | Soils | 90.22
XRF-SWRC-8 | SWRC | 2026-05-04 | 1502 | 1 | 52.2369 | 2.1605 | 6.384 | <LOD | 48746.5391 | 1275.5131 | 16558.2207 | Soils | 90.43
| SWRC | 2026-05-04 | 1503 | 2 | 55.4488 | 2.4189 | 7.0868 | <LOD | 49504.1797 | 1302.5381 | 19714.1191 | Soils | 90.25
XRF-OMB-1 | OMB | 2026-05-04 | 1504 | 1 | 16.5327 | 2.1925 | 22.3938 | <LOD | 31790.4766 | 994.873 | 361.9147 | Soils | 90.5
| OMB | 2026-05-04 | 1505 | 2 | 13.495 | <LOD | 23.2056 | <LOD | 31383.5352 | 1094.5404 | 348.8542 | Soils | 90.15
XRF-OMB-2 | OMB | 2026-05-04 | 1506 | 1 | 38.7074 | 7.0874 | 17.1195 | <LOD | 39836.7812 | 433.1172 | 562.3414 | Soils | 90.41
| OMB | 2026-05-04 | 1507 | 2 | 43.0091 | 7.0819 | 19.1722 | <LOD | 40774.1484 | 474.631 | 555.1442 | Soils | 91.98
XRF-OMB-3 | OMB | 2026-05-04 | 1508 | 1 | 11.1963 | 5.7291 | 7.2957 | <LOD | 40122.457 | 764.5177 | 328.0215 | Soils | 90.1
| OMB | 2026-05-04 | 1509 | 2 | 9.0842 | 4.7891 | 10.5688 | <LOD | 40501.5703 | 711.0354 | 299.9171 | Soils | 91.83
XRF-OMB-4 | OMB | 2026-05-04 | 1510 | 1 | 7.9028 | 2.4193 | 9.8259 | <LOD | 42918.8555 | 884.5801 | <LOD | Soils | 90.31
| OMB | 2026-05-04 | 1511 | 2 | 6.1644 | 4.781 | 8.5264 | <LOD | 43758.082 | 928.4349 | <LOD | Soils | 90.35
XRF-OMB-5 | OMB | 2026-05-04 | 1512 | 1 | 114.96 | 4.3506 | 15.1315 | <LOD | 30822.5957 | 2218.9988 | 1146.0516 | Soils | 92.15
| OMB | 2026-05-04 | 1513 | 2 | 112.6344 | 7.0793 | 13.1671 | <LOD | 31583.1211 | 2235.9807 | 1566.1 | Soils | 90.25
XRF-OMB-6 | OMB | 2026-05-04 | 1514 | 1 | 108.1252 | 2.5818 | 11.2447 | <LOD | 35655.2773 | 215.6348 | 1149.004 | Soils | 91.87
| OMB | 2026-05-04 | 1515 | 2 | 101.9141 | 2.7053 | 11.8958 | <LOD | 36612.9414 | 205.4709 | 1555.3008 | Soils | 92.3
XRF-OMB-7 | OMB | 2026-05-04 | 1516 | 1 | 35.4684 | 3.6933 | 11.1353 | <LOD | 32761.5859 | 1682.974 | 317.5602 | Soils | 91.95
| OMB | 2026-05-04 | 1518 | 2 | 37.6207 | 4.2182 | 10.2232 | <LOD | 32805.1797 | 1678.4504 | <LOD | Soils | 90.51
XRF-OMB-8 | OMB | 2026-05-04 | 1519 | 1 | 203.1816 | 9.9861 | 20.184 | 18.4214 | 32789.4219 | 2540.3667 | 1410.2323 | Soils | 90.27
| OMB | 2026-05-04 | 1520 | 2 | 197.5598 | 10.6873 | 19.9425 | 22.6981 | 33092.1523 | 2606.5647 | 1344.8763 | Soils | 91.78
XRF-OMB-9 | OMB | 2026-05-04 | 1521 | 1 | 3850.6243 | 9.6481 | 50.7143 | 45.2769 | 9927.6631 | 440.3697 | 15197.5645 | Soils | 90.56
| OMB | 2026-05-04 | 1523 | 2 | 3711.9341 | 6.6165 | 56.9604 | 47.6939 | 9734.2178 | 1900.8906 | 15843.083 | Soils | 92.03
XRF-OMB-10 | OMB | 2026-05-04 | 1524 | 1 | 952.2377 | 19.5098 | 19.5907 | 63.6142 | 36051.0938 | 2150.3914 | 1317.2135 | Soils | 90.26
| OMB | 2026-05-04 | 1525 | 2 | 941.8326 | 20.6072 | 18.2027 | 53.4655 | 36538.3398 | 2223.842 | 1864.1216 | Soils | 90.35
XRF-OMB-11 | OMB | 2026-05-04 | 1526 | 1 | 134.3884 | 9.9987 | 5.9186 | 45.4805 | 28385.4062 | 1316.9882 | 1273.8833 | Soils | 92.05
| OMB | 2026-05-04 | 1527 | 2 | 133.791 | 8.2769 | 9.0845 | 45.643 | 28733.7949 | 1381.2762 | 1282.6078 | Soils | 91.72
XRF-OMB-12 | OMB | 2026-05-04 | 1528 | 1 | 6.1901 | <LOD | 4.5458 | <LOD | 43179.7852 | 1008.0714 | 334.6493 | Soils | 91.95
| OMB | 2026-05-04 | 1529 | 2 | 6.3913 | <LOD | 3.8214 | <LOD | 43710.2305 | 1061.7976 | 436.4748 | Soils | 90.15
XRF-OMB-13 | OMB | 2026-05-04 | 1530 | 1 | 32.2127 | 70.3787 | 12.3924 | 117.9719 | 55692.7734 | 2585.5759 | 4975.5229 | Soils | 92.07
| OMB | 2026-05-04 | 1532 | 2 | 27.0491 | 71.2045 | 13.8778 | 117.5084 | 56220.6641 | 2636.2761 | 6037.335 | Soils | 90.31
XRF-OMB-14 | OMB | 2026-05-04 | 1534 | 1 | 6.8443 | <LOD | 3.307 | 6.8118 | 47165.6484 | 683.9409 | 398.1208 | Soils | 92.02
| OMB | 2026-05-04 | 1535 | 2 | 6.2383 | <LOD | 3.4708 | 8.5743 | 47494.1914 | 691.1454 | 630.3724 | Soils | 91.82
XRF-OMB-15 | OMB | 2026-05-04 | 1536 | 1 | 112.4586 | 54.3787 | 8.749 | 170.9808 | 53167.2852 | 45.8828 | 7087.4678 | Soils | 90.3
| OMB | 2026-05-04 | 1537 | 2 | 109.5203 | 54.3589 | 8.7581 | 166.4484 | 53670.8555 | 44.9938 | 8165.9106 | Soils | 90.39
XRF-OMB-16 | OMB | 2026-05-04 | 1538 | 1 | 179.5034 | 51.5604 | 3.9886 | 49.916 | 101852.6562 | 172.2547 | 3186.0078 | Soils | 91.89
| OMB | 2026-05-04 | 1539 | 2 | 180.0519 | 52.2768 | 4.0435 | 49.3289 | 103284.4609 | 184.4901 | 3935.1609 | Soils | 90.29
XRF-OMB-17 | OMB | 2026-05-04 | 1542 | 1 | 216.8515 | 39.9858 | 4.7637 | 70.4625 | 82612.1328 | 352.6128 | 5843.9639 | Soils | 92.23
| OMB | 2026-05-04 | 1543 | 2 | 213.1089 | 40.107 | 7.0824 | 66.8979 | 82881.5938 | 338.6906 | 5699.5791 | Soils | 90.3